## Slide 1: Assessing the Generalizability of Temporally-Coherent Echocardiography Video Segmentation
Yida Chen, Xiaoyan Zhang,
Christopher M. Haggerty, Joshua V. Stough

## Slide 2: Outline
Echocardiography
Frame vs. Video Segmentation
CAMUS Dataset
Experimental Results
Generalization to EchoNet-Dynamic

## Slide 3: Echocardiography
Common Modality
Non-invasive test and rapid acquisition
Ouyang et al. Video-based AI for beat-to-beat assessment of cardiac function https://www.nature.com/articles/s41586-020-2145-8

## Slide 4: Echocardiography
Common Modality
Non-invasive test and rapid acquisition
2 Standard Views used for Left Ventricular Volume & Ejection Fraction (EF) estimation
https://www.cardioserv.net/echo-mitral-valve/

## Slide 5: Echocardiography
Common Modality
Non-invasive test and rapid acquisition
AP 2CH/4CH Views
Behnia et al. Clinical Medicine Insights 2013. https://doi.org/10.4137/CCRPM.S12498

## Slide 6: Echocardiography
Common Modality
Non-invasive test and rapid acquisition
AP 2CH/4CH Views
Labor-intensive manual annotation
High Inter/intra-variability
Behnia et al. Clinical Medicine Insights 2013. https://doi.org/10.4137/CCRPM.S12498

## Slide 7: Outline
Echocardiography
Frame vs.Video Segmentation
CAMUS Dataset
Experimental Results
Generalization to EchoNet-Dynamic

## Slide 8: Frame Segmentation
Focus on spatial features
Accurate segmentation
Frames are analyzed independently
Little to no connection between segmented frames
Incommensurate performance on the 3D index, EF
AP 2CH ED AP 2CH ES
AP 4CH ED AP 4CH ES
Stough et al. SPIE Medical Imaging 2020. https://doi.org/10.1117/12.2547375

## Slide 9: Video Segmentation
Analyze ED-ES video clips
Extract both spatial and temporal features
Temporal-coherent segmentation
Improved estimation on EDV, ESV, & EF
AP 2CH
AP 4CH

## Slide 10: CAMUS Dataset
500 patients
  450 Training
  50 Hold-out Tests
AP 2 & AP 4 Views
Segmented ED/ES
  LV Endocardium
  LV Epicardium
  LA
Clinical indices are given
AP 4CH AP 2CH
LeClerc et al., IEEE TMI 2019, https://doi.org/10.1109/TMI.2019.2900516

## Slide 11: CNN: CLAS
3D Convolutions
O, Cicek et al. 3D U-Net: Learning Dense Volumetric Segmentation from Sparse Annotation https://arxiv.org/pdf/1606.06650.pdf
Wei et al. MICCAI 20, http://doi-org-443.webvpn.fjmu.edu.cn/10.1007/978-3-030-59713-9_60

## Slide 12: CNN: CLAS
3D Convolutions
~19M weights
Two parallel tasks: Segmentation & Motion Tracking
Wei et al. MICCAI 20, http://doi-org-443.webvpn.fjmu.edu.cn/10.1007/978-3-030-59713-9_60

## Slide 13: Outline
Echocardiography
Frame vs. Video Segmentation
CAMUS Dataset
Experimental Results
Generalization to EchoNet-Dynamic

## Slide 14: Experiment on CAMUS
10-fold cross-validation
Same split for Frame1 and CLAS methods
Stratified on EF & Image quality
Image Quality | EF Range :Good Med Poor; <45 >55 else​
fold 0 (49): 43 41 16; 29 43 29​
fold 1 (49): 43 41 16; 29 43 29​
fold 2 (46): 43 43 13; 26 43 30​
fold 3 (46): 43 43 13; 26 43 30​
fold 4 (46): 43 43 13; 26 43 30​
fold 5 (44): 45 43 11; 25 45 30​
fold 6 (43): 44 44 12; 26 47 28​
fold 7 (43): 44 44 12; 26 47 28​
fold 8 (43): 44 44 12; 26 47 28​
fold 9 (41): 46 41 12; 27 46 27 ​
1. Stough et al. SPIE Medical Imaging 2020. https://doi.org/10.1117/12.2547375

## Slide 15: 10-fold CV Results
CAMUS 450 Training
Dice Similarity
1. Wei et al. MICCAI 20, http://doi-org-443.webvpn.fjmu.edu.cn/10.1007/978-3-030-59713-9_60
2. Stough et al. SPIE Medical Imaging 2020. https://doi.org/10.1117/12.2547375

## Slide 16: Derived LV Volume
Improved LV volume estimation
On End-Diastolic Volume:
  mae (vs. Frame):
    8.7 ml vs. 9.9 ml
  LOA (vs. Human expert):
    ± 22.8 vs. ± 25.2
……..Wood, et al., Echocardiography 2014, https://doi.org/10.1111/echo.12331

## Slide 17: Derived LV Volume
Improved LV volume estimation
On End-Systolic Volume:
  mae (vs. Frame):
    6.3 ml vs. 6.6 ml
  LOA (vs. Human expert):
    ± 18.4 vs. ± 19.6
……..Wood, et al., Echocardiography 2014, https://doi.org/10.1111/echo.12331

## Slide 18: Derived Ejection Fraction
Accurate EF derivation
mae (vs. Frame):
  4.6% vs. 5.3%
LOA (vs. Human expert):
  ± 12.0% vs. ± 15.1%
……..Wood, et al., Echocardiography 2014, https://doi.org/10.1111/echo.12331

## Slide 19: 50 Hold-out Test Patients
Use accumulated outputs from 10-fold models
Answers are submitted to the online platform
LeClerc et al., IEEE TMI 2019, https://doi.org/10.1109/TMI.2019.2900516

## Slide 20: 50 Hold-out Test Patients
Compared against best-reported on the platform
Consistent Dices
Better EDV, ESV, and EF estimation

## Slide 21: Outline
Echocardiography
Frame vs. Video Segmentation
CAMUS Dataset
Experimental Results
Generalization to EchoNet-Dynamic

## Slide 22: EchoNet-Dynamic
10,030 echo videos
Multiple heartbeats
Akin to clinical quality
Annotated LV in ED/ES
AP 4CH view only
Ouyang et al. Video-based AI for beat-to-beat assessment of cardiac function https://www.nature.com/articles/s41586-020-2145-8

## Slide 23: Putative ED-ES clips
Only one pair of clinical reported ED/ES frame indexes is given for each video.
To fully utilize the video information

## Slide 24: Putative ED-ES clips
Determined from segmented LV sizes1 (in pixels)
Local maxima ⇒ ED; Local minima ⇒ ES
1. Ouyang et al. Video-based AI for beat-to-beat assessment of cardiac function https://www.nature.com/articles/s41586-020-2145-8

## Slide 25: Test-time Augmentation
EF 59.86%
EF 60.76%
EF 59.98%
EF 58.75%

## Slide 26: Test-time Augmentation
Derived EF: 59.84%
Clinical EF: 59.06%
Abs Error: 0.78%

## Slide 27: Performance on Test Set
1274 patients
Dice Similarity (LV ED/ES)
  A-CLAS: 0.91/0.88
  Frame: 0.91/0.88

## Slide 28: Performance on Test Set
1274 patients
Dice Similarity (LV ED/ES)
  A-CLAS: 0.91/0.88
  Frame: 0.91/0.88
Narrower LOA
1.60 % ± 16.0 (vs. 19.1)
Higher cross-correlation 0.77 (vs. 0.70)

## Slide 29: Conclusion
Incorporate temporal coherence & Depend less on spatial features
Resistant to imaging artifacts & noise
Improved EDV, ESV, & EF estimations
Well generalized to larger unseen dataset without tuning

## Slide 30: Thank You
Joshua V. Stough, PhD
Xiaoyan Zhang, PhD
Christopher M. Haggerty, PhD
Ciffolillo Healthcare Technology Inventors Program